# Request for Proposal: Facility Management Services at Volkswagen Group Technology Solutions India Pvt Ltd.

# Minimum Qualification Criteria

  - VWITS is seeking proposals from qualified organizations, which have proven experience of providing services through their robust, secure & reliable facility management.

  - VWITS is seeking a long term relationship where factors such as service, quality, productivity, sustainability, and efficiency will be the key criteria in selecting a suitable Bidder to provide services.

  - The Bidder can either be a sole proprietary concern, partnership concern or company but should be registered with the Registrar of Firms/Registrar of Companies, wherever applicable;

  - The Bidder must be in existence for the last 5 (five) years

  - The Bidder’s employees must have adequate training and experience in general security, fire-fighting and access control management.

  - The Bidder must have executed similar assignments for Multi-National Companies (MNCs)/Private Sector Corporates.

  - The Bidder must be an income-tax assesses having filed its income-tax return for the last three assessment years,

# RFP response questionnaire

Please answer all questions in this order given below and keep your response brief and to the point.

  - Read and examine all specifications and instructions laid out in this RFP.

  - Furnish full and complete information required by this solicitation. Inadequate information will lead to disqualification.

  - Provide your Organization structure and explain how your field force is aligned with this structure?

  - Furnish a written schedule of an all-inclusive and unit rate cost for resources being deployed at the site.

  - Service Partner and Service Partner Team Information

    - Major 5 clients contact details for reference purposes along with a brief on scope of work.

    - Profile/resume details of each key contract personnel position.

    - Medical fitness certificate from an authorized medical practitioner as per EHS standards.

    - Background verification of all personnel deployed at site (directly or indirectly) as per the industrial norms.

    - Recruitment process/policy.

    - Back-up plan in case of emergency/employees on leave.

    - IMS (Quality, Environment, and OHSAS) manual: Service Partner shall provide a copy of its current IMS program and describe how it will be implemented.

    - Training Manual: Service Partner shall furnish all corporate supplied training materials, plans for training personnel for site specific regular and emergency operations, documentation on training schedules and post-training testing, and personnel evaluation documentation that includes training objectives and measurement. VWITS will not reimburse Service Partner for training of its personnel.

    - Safety Manual: Service Partner shall provide a copy of its current safety program and proposed modifications to assure the program is site specific. Service Partners safety program shall meet industry standards and VWITS’s EHS policy expectations and be subject to a comprehensive audit and review at any time by VWITS.

    - SOP - Service Partner shall provide copies of Standard operating procedures designed to deliver high levels of deliverables and handle all types of operations and emergencies at site.

    - Service Partner shall provide details of process automation tools employed to ensure operational efficiency by minimizing occurrence of failure on account of human error.

  - Provide the following details about your Organization.

| Sr No | Particulars |
| --- | --- |
| 1 | Audited company financials over the past 3 years |
| 2 | Company Registration certificate and nature of establishment |
| 3 | Proof of executing similar projects in MNC/ Public sector/Private sector |
| 4 | Copy of Sales Tax/VAT/TIN registration certificates |
| 5 | Provide your bank details |
| 6 | Provide currently concluded major contracts (at least 3) |
| 7 | Provide details about your infrastructure |
| 8 | Provide referrals |
| 9 | Management Team – Profile |
| 10 | One cancelled cheque with signatures of authorized personnel |
| 11 | Last 3 years stats for Incidents & accidents |

  - Provide the following details about Statutory Compliances followed at your Organization

| Sr No | Particulars |
| --- | --- |
| 1 | Register of Deductions in Form XX |
| 2 | Register of Fines in Form XXI |
| 3 | Register of Advances in Form XXII |
| 4 | Register of Overtime in Form XXIII |
| 5 | Exemption to maintain computerized records under minimum Wages Act (if applicable) |
| 6 | State Labor Welfare Fund Code No./Registration copy - if any |
| 7 | Shops and Establishments Certificate copy |
| 8 | Notices required to be displayed under Minimum Wages Act, Payment of Wages Act, Contract Labor Act |
| 9 | Employment Cards in Form XIV |
| 10 | Contract Labor Act License Copy (if applicable) |
| 11 | Muster Roll in Form XVI |
| 12 | Register of Wages in Form XVII |
| 13 | Where the wage period is less than one week, a combined muster roll-and wages register in Form XVIII |
| 14 | Wage slips in Form XIX one day prior to the disbursement of wages |
| 15 | Declaration/Undertaking for the current month |
| 16 | PF Challan for the previous month |
| 17 | PF token of payment of current month made to the respective bank |
| 18 | ESI Challan for the previous month |
| 19 | ESI token of payment of current month made to the respective bank |
| 20 | Labor Welfare Fund Challan Copy or receipts. |
| 21 | Form -V - Rule 29(1) : Register of wages Form-VII - Rule 29 (5): Muster Roll |
| 22 | Muster and Wage Registers as per CLA |
| 23 | PF - Form 5 of new employees joined on the site |
| 24 | PF - Form 12A Copy - Monthly returns |
| 25 | PF - Form 10 - for employees separated from your organization |
| 26 | ESI - Return of Declaration Form Copy |
| 27 | PF - 6a Copy – Annual |
| 28 | ESI - Form 6 copy - Half Yearly |
| 29 | Half Yearly return to be filed to the labor office under the prescribed form |
| 30 | Labour License Renewal in Form VII |
| 31 | Any other Statutory Compliances requirements. |

  - Provide the following details about your Organization’s Responsiveness and Competence

| Sr No | Particulars |
| --- | --- |
| 1 | Do you have a local response capability? Provide details |
| 1a | A brief one-page write-up on how you will manage this account from the point of logistics, manpower, infrastructure and management involvement/ capabilities |
| 2 | Is the team trained on SEZ rules and Regulations? |
| 3 | Provide list of mandatory training that the deployed staff has attended. How many maintenance personnel have been trained? |
| 4 | Provide list of mandatory training that the deployed staff will be provided after deployment. Do you have a training rooster? Provide samples |
| 5 | Do you have a certain percentage of staff experienced beyond 5 years in the team? Provide details |
| 6 | Technical expertise of the team. Is the team geared to handle say AHUs, DG Sets, FAS, Firefighting equipment’s, panels etc. Mention their experience levels in their respective trades. |
| 7 | Do you train your personnel on computers? Provide details |
| 8 | Have you documented your functional, quality, and levels of flexibility? Provide details |
| 9 | Explain your Account and Project Management strategies |
| 10 | Do you have a document of you team's execution capabilities? Provide details |
| 11 | Do you have monitoring, reporting templates? Provide details |
| 12 | Do you have an escalation matrix? Please mention |
| 13 | Do you maintain a salary structure as mentioned in the RFP? |
| 14 | Do you have a background check procedure? Provide details |
| 15 | Provide your feedback on the Task list and SLAs that were circulated. How do you propose to handle these? |
| 16 | Do you have a process for reimbursing PF, ESI and final settlement to separated employees? Mention process |
| 17 | Do you have a Replacement procedure in case of separation, negative reports |
| 18 | Deployment plan - Experience levels of personnel deployed. Do you deploy personnel with at least three years’ experience? |
| 19 | Do you have an age limit for maintenance personnel? Please provide details |
| 20 | What is your commitment to bear claims, levy, penalty, damages, fines etc that may arise due to violation of statutory provisions, whether due to negligence from your part or your personnel? |
| 21 | Plan during events that might cause damage and loss due to accidents, strikes, riots, agitation, civil commotion and disturbance of any kind etc? |
| 22 | Will you provide uniform sets? Please provide details |
| 23 | Do you have a laundry reimbursement plan? Provide details |
| 24 | Do you have a leave policy? Provide details |
| 25 | Do you have a shift policy? Provide details |
| 26 | Provide your plan to handle the following aspects of our infrastructure - General Electrical Maintenance works - Automated building systems - Maintenance and repair - Lighting system - Operation & Maintenance, repair - Heating, Ventilation & Air-conditioning (HVAC) - Operation & Maintenance, - Repair - Plumbing |
| 27 | Do you have a published Green policy? |
| 28 | What are the tools and tackles that you will provide during the period of the contract? |
| 29 | Do you have a plan to conduct quarterly, half-yearly and yearly building surveys? The survey must cover the following aspects? - The weather shield (roofs, façades, windows, balconies) - Building insulation - Damp problems (roof drainage, drains, ventilation) - Installations (heating, ventilation, utility water, drainage and electric power installations). |
| 30 | Provide detailed checklists for the following? - Infrastructure maintenance - Equipment maintenance (critical, semi-critical, non-critical) - Maintaining Drain traps - Maintaining Combustive appliances - Pest Control - Waste Management. How do you classify hazardous and non-hazardous waste. What is your procedure for waste removal and disposal? Please provide details. - Maintaining Indoor air quality and providing thermal comfort |
| 31 | Provide detailed responses for the following? - What is your plan to counter any flooding and emergency? Do you have a management plan to handle disasters? Provide details with examples, if any. - What is your turnaround time to mobilize additional manpower? - Are you aware of green policies and implications on the global environment? Provide a write-up. - What is your process for implementing Occupational Health & Safety (ISO 45001). |

# Scope of services

      - Provide a minimum environmental impact facility and associated services by assisting in defining and implementing an Environmental and Health program over the life of the contract to include:

      - Provide specialty services at designated locations as directed by VWITS in compliance with ISO 14001, ISO 45001;

      - Assist in planning disaster and recovery services, provide in-depth utility management reports to be used to monitor savings potentials, plan systematic water management and recycling services, introduce effective waste management services;

      - Provide services as directed by VWITS in compliance with ISO 45001 - an international occupational health and safety management system specification

      - Following services are included in the scope of this RFP and are to be managed by the successful outsourcing partner. The work can be carried out by the Service Partner themselves or sub-service partners to a 3rd party with the permission of VWITS.

      - Electro-Mechanical Maintenance(Engineering and Maintenance) (Annexure D)

- Building Maintenance – Soft services, Hospitality, pest control, Plumbing, Carpentry and other facility management services.

      - EHS- Environment Health & Safety

      - Waste Management

      - 5S & Innovations.

      - Recommended qualifications for key personnel as per (Annexure E)

      - Requirement of Engineering Tools at Site as per (Annexure F)

      - There might be other service personnel already on contract with VWITS who might be made part of your payroll.

  - Key Performance Indicators

Please provide your feedback with respect to the following Key Performance Indicators (KPI). Provide artifacts and checklists against each of these requirements.

| S. No | Nature of complaint | Response Time | Resolution Time |
| --- | --- | --- | --- |
|  | Electrical |  |  |
| 1 | Light fixture problem | 10 Minutes | 30 Minutes |
| 2 | Replacement/repair Power socket | 10 Minutes | 1 Hrs |
| 3 | Power distribution breaker tripped | 5 Minutes | 30 Minutes |
| 4 | MCB failure at w/s area | 10 Minutes | 20 Minutes |
| 5 | MCB failure at critical area | 5 Minutes | 10 Minutes |
|  | HVAC |  |  |
| 1 | Attend temperature/air flow problem at w/s area | 10 Minutes | 30 Minutes |
| 2 | Attend temperature/air flow problem at critical area | 5 Minutes | 30 Minutes |
| 3 | Rectification of drain water leakage | 30 Minutes | 2 Hrs |
|  | Fire Alarm system |  |  |
| 1 | Fire alarm acknowledgement | 2 Minutes | 1 Hrs |
| 2 | Resolution |  | 24 Hrs |
|  | Carpentry |  |  |
| 1 | Repair/replace of door closer | 30 Minutes | 2 Hrs |
| 2 | Lock and key defects | 30 Minutes | 1 Hrs |
|  | Major Breakdown |  |  |
| 1 | UPS By-pass in case of UPS failure | 5 Minutes | 1 Hrs |
|  | Plant Change Over |  |  |
| 1 | Planned | 2 Minutes |  |
| 2 | Unplanned | 3 Minutes |  |
| 3 | Equipment failure/power restoration | 30 Minutes |  |
|  | Others |  |  |
| 1 | Water leakages | 5 Minutes | 20 Minutes |
| 2 | Tap changes etc | 5 Minutes | 20 Minutes |
| 3 | Refill of Vending machines etc | 5 Minutes | 20 Minutes |

  - Management, Co-ordination Reporting and Meetings

Service Partner will be responsible for managing the entire preventive, corrective and breakdown services, liaison with VWITS’s service Partners and AMC Partners, reporting to VWITS, providing value-adds to VWITS.

The Service Partner has to carry out daily meetings, weekly meetings. Monthly review of SLA on 10th working day of every month based on KPI. Quarterly review meeting with VWITS to appraise VWITS about the Services and value-adds.

Monthly management review, Operation review and Quarterly business review with VWITS.

  - Managing the Services

    - Service Partner will take ownership of all the services as described in this Statement of Work and will work as an independent Unit. VWITS may only intervene on major issues and not on routine/operational issues.

    - Service Partner will ensure that the checklists are adhered to with utmost care and regularity.

    - Service Partner will ensure that the preventive maintenance is performed for all equipment as per the Preventive Maintenance Plan.

    - Service Partner will ensure that the problems are responded and resolved as per the time frames decided for each type of problem.

    - Service Partner will prepare and follow standard operating procedures for smooth functioning of the maintenance services, within 30 days of commencement of agreement.

    - Service Partner site-in-charge will brief VWITS representative on maintenance and operational proceedings on day to day basis.

  - Co-ordination with VWITS Agencies

    - Service Partner will co-ordinate with VWITS Partners (vendors) for carrying out maintenance of equipment under AMC or warranty.

    - Service Partner will maintain a record of all the equipment at VWITS  that are required to be maintained under the scope of work, keep record of the vendors details, keep track of the dates of AMC/warranty validity and inform VWITS  when the validity is within 3 months of completion.

    - Service Partner will ensure that the problems are attended by VWITS vendors as per the T&C’s of the agreements with respective vendors.

    - Service Partner will also perform escalations within vendors in case problems are not responded or resolved as per the contract terms.

    - Service Partner will prepare the records of routine service visits to be provided by AMC Service Partners and tracking to be done for actual visits, on weekly basis.

    - Service Partner will coordinate with HSD fuel vendor for ensuring the smooth supply to maintain the re-order point.

    - Service Partner will track all the expenses of VWITS for stores and HSD fuel.

    - Service Partner will maintain record of fuel consumption of DG set, stock register of HSD fuel in adherence with excise rules and regulations, payments issued to oil companies and status with the purchase function of VWITS.

    - Keep the inventory status of all spares required for the maintenance of the facility and update on daily basis.

    - Preparation of stock report on consumables at VWITS.

    - Service Partner will prepare purchase request for spare parts, electrical and mechanical items, plumbing, AC spares including screw chiller, reciprocating chiller, split A/Cs etc and DG spares and will coordinate for approvals with VWITS.

  - Reporting

Service Partner will submit the daily, weekly, monthly, quarterly, half-yearly and annual reports as per the formats discussed and decided between VWITS and Service Partner. These formats will be submitted by Service Partner within 2 weeks of commencement of services at VWITS and will be finalized within one week from submission.

The Reports will include the following:

    - The Checklists which will be prepared by the Service Partner supervisors for all equipment at VWITS

    - Report on electrical parameters

    - Report on UPS parameters

    - Report on air-conditioning parameters

    - Report on firefighting & water drainage system parameters

    - Report on the major replacements & repairs undertaken

    - Report on inventory status of spares and consumables

    - Report on forthcoming preventive maintenance

    - Report on warranties and AMCs of equipment

    - Report on Genie tickets  (no. of calls logged, responded and resolved along with times)

    - Report on deviations to response and resolution time

    - Report on breakdowns

    - Report on spares consumption (highlighting abnormal consumptions)

    - Report on water consumption

    - Report on power consumption.

    - Report on Environment Health and Safety

The above Reports are indicative. Final reports and the formats will be developed and finalized as mentioned above.

  - Value-Adds & Key Deliverables of Service Partner

    - Minimize emergency repairs – this will be monitored on a monthly basis and over 6 months of service there should be a decline in the number of incidents and expense thereof towards the emergency maintenance

    - Ensure 100% uptime for critical equipment (UPS, DG sets, chillers, transformers, AVR, precision AC and package Air conditioners, water supply and drainage, Firefighting systems and equipment). This will be monitored on quarterly basis.

    - Preventive maintenance schedule to be followed with 100% compliance and predictive maintenance techniques to be followed.

    - Response and resolution time to be followed be complied within 100% of the cases. Resolution time is to be complied with in 98% of the cases. In at most 2% cases, wherein the problem is beyond the control of Service Partner, the resolution time can go beyond the committed time but has to be apprised to VWITS and approved by VWITS. All such deviations are to be reported separately to VWITS.

    - All the daily, weekly, monthly, quarterly, half-yearly and annual reports and checklists to be adhered to.

    - Energy audits – complete energy audits, recommendations and implementation (on additional cost only after concurrence from VWITS).

    - Energy savings – targets to be set with VWITS representative and adhered to VWITS Energy Conservation policy.

    - Maintaining adequate inventory for all consumables and components required for maintenance and consumption reports on weekly basis.

    - Preprinted stationary and pre numbered controlled log books for helpdesk desk services; DG set chiller plant, UPS and rectifiers, to be issued to site within a week of stating of services.

    - Training on 5S and EHS to their staff.

    - Implementing best practices across the locations.

    - Implementation of 5S after necessary training where ever applicable.

    - New Innovations to be identified (atleast one in three month) and if agreed to be implemented.

  - Exclusions

    - Cost of spares

    - Cost of major repairs – over-hauling of DG Sets & chillers

    - Cost of refrigerant & oils in ACs and chillers

    - AMC cost for equipment

    - Cost of any professional fee for carrying out any project work/audits/consultancy services

  - LAPSES

Lapses in service levels by the Service Partner are categorized into high and medium. The types of lapses in each category are listed below. However, the lapses are not restricted to what are listed below. Any lapse encountered by VWITS during the agreement period, will be suitably categorized by VWITS, in consultation with Service Partner. However, VWITS decision on categorization will be final.

    - High

      - Non adherence or non-fulfillment of any statutory/governmental requirements including obtaining and maintaining all necessary registrations and licenses, by Service Partner, at any stage

      - Misbehavior by Service Partner personnel with any VWITS Associate/guest/Clients, including issues pertaining to integrity, unethical behavior, harassment, inappropriate gestures or comments on anyone, disruption of the peaceful work environment, refusal to attend to work  etc,  at VWITS  premises.

      - Involvement or reasonable suspicion of involvement of Service Partner personnel in any kind of activity at VWITS with malafide intentions (including theft), either directly or as a support to any third party.

      - Overall poor service levels and no satisfactory improvement within 15 days after a written notice from VWITS.

      - Uptime going below 100% for critical equipment on quarterly basis, as defined in A.3.d

      - Non-adherence to response time and resolution time as defined in “key deliverables”

      - Non adherence to escalation mechanism by Service Partner

      - Change in any personnel deputed at VWITS  Site without VWITS  approval

      - Violation of Non-Disclosure Agreement (NDA)

      - Night rounds to be conducted.

      - Immediate alternate deployment for the single resource skilled manpower on leave or absent for more than three days (FMM, AFM, FE, Painter, Carpenter, Plumber, Handyman etc.)

    - Medium

      - Failure of Service Partner in submitting any report on time

      - Non-compliance to check lists

      - Failure of Service Partner in maintaining spares records, records on warranties/AMCs

      - Failure of Service Partner in co-coordinating with VWITS service Partners for rectifications to problems.

      - Facility induction to the new joinee.

  - Reporting Requirements

    - Daily reports will be primarily in the form of checklists as mentioned above.

    - Service Partner will submit weekly reports to VWITS giving summary of the activities performed by Service Partner in the past week. Format of such reports will be approved by VWITS.

    - Monthly reports will give a summary of activities performed by Service Partner in the previous month.

  - Environment Health & Safety

Key Account Manager should be well-versed with environment health and safety regulations. He should have sufficient experience in managing VWITS occupied floors/building of office space. He should be responsible for maintaining a safe, clean and hygienic environment. He should be responsible to ensure all hazard and Aspects are identified and captured in the document with proper operational controls.

    - EHS & OHSMS related contracts

    - Service partner to coordinate disposal of batteries, electronic and electrical items as per ISO 14001 / ISO 45001 / PCB norms.

    - Coordinate disposal of e-waste.

    - Ensure proper training to the staff on EHS.

    - Co-ordinate disposal of food waste / medical waste /paper waste.

    - To ensure all staff wears uniform proper PPE’s at work.

    - To ensure active participation in all the EHS related activity.

    - To adhere to work permit policies.

    - Ensure closure of EHS related Audit observations.

    - To carry out safety walk through audits, compilation of snags and plan to execute.

    - Periodical medical checks and test to be carried out for the deployed man power as per Annexure-G.

  - STATUTORY COMPLAINCE MANAGEMENT:

    - Service partner shall manage all statutory requirements of VWITS office locations related to State pollution Board, Electricity boards, Water supply & Sewage boards, Mahanagar palika or any other institutions / bodies as informed from time to time.

    - Manage and co-ordinate with Electrical inspectorate on all statutory inspections and   close snags of audit if any.

    - Maintenance of all documentation including but not limited to records, registers, rolls etc. under various Environmental Statutes, Regulations, Rules, Directions etc. from Government Authorities and advising VWITS on compliance status and changes in laws and regulations

    - Assisting VWITS in applying for applicable consents and legal permits from the relevant authorities

    - Assisting VWITS in the preparation and timely filing of all statutory returns and obtaining licenses, license renewals etc.

    - Filing of environmental audit statement before due date to PCB.

    - Filing of legal reports to PCB once in six months as per due dates.

    - Update legal requirements – quarterly

    - Shall submit B & D forms to Electrical inspector office monthly.

    - Shall submit all FAS related forms.

  - Total environmental Management which includes:

    - Drinking water test – for portability test every Quarter or as required- As required by statutory regulation.

    - Ambient air quality monitoring (SPM, Sox, Nox, Respirable particulate matter) at corners of facility or and as per PCB.

    - DG stack monitoring for So2 monitoring – As required by statutory regulation.

    - Noise monitoring (Day and night) as per state pollution board requirements and OHSAS

    - STP: To maintain treated water BOD levels and other parameters as per state pollution boards regulations and submit monthly documentations to pollution board.

  - Escalations

Service Partner will follow the following levels of escalation in its organization:

Level 1 – Mr.………………….. Designation (Facility Manager)	Cell No……………….

Level 2 – Mr.………………….. Designation (Key Accounts Manager)	Cell No……………….

Level 3 – Mr.………………….. Designation (General Manager)	Cell No……………….

Level 4 – Mr.………………….. Designation (Country Manager)	Cell No……………….

Level 1 means any deviations to response and resolution times and checklist.

Level 2 means 12 hours of NC / PPM

Level 3 means 24 hours of NC / PPM of level 2

Level 4 means within 24 hours of Level 3

Penalty of upto 2% deduction in service charges will be attracted if the KPI scoring is less than 60%.

  - Dos and Don’ts for Service Partner Personnel.

    - Do’s

      - Maintain personal hygiene by wearing clean clothes, gloves, shoes etc.

      - Be well groomed with short & tidy hair, trimmed nails etc.

      - Be always polite and courteous to all VWITS employees and guests.

      - Answer telephone calls politely and be courteous to all VWITS employees.

      - All safety and security rules regulations of VWITS to be strictly adhered by the staff.

    - Don’ts

      - Misbehavior with any VWITS employee, guest, other contract personnel of any magnitude.

      - Impoliteness, loud talking, inappropriate language, inappropriate gestures, any indiscipline.

      - Group gatherings, disturbance.

      - Involvement in any kind of activity at VWITS with malafide intentions (including theft), either directly or as a support to any third party.

      - Service Provider’s personnel shall not be under the influence of alcohol while on duty.

      - Service Provider’s personnel shall not be found sleeping during duty hours;

  - Screening

Service Partner will depute any personnel at VWITS only after screening and approval by VWITS. Any change in any personnel will be at an intimation of at least 7 days to VWITS. The new personnel will also be screened by VWITS or all selected personnel shall undergo the background verification by the VWITS directed partner and the minimal fees shall be borne by the service company. Any additional requirement on the verification shall be discussed and mutually agreed.

    - If any personnel needs to be changed by Service Partner due to some emergency which is beyond the Service Partner control, even then the new personnel will be screened by VWITS.

  - Service Partners Personnel:

    - Service Partner shall recruit, hire, train, supervise, direct and discipline Service Partners management and non-management employees working in the licensed premises for the provision of the services. All persons employed by Service Partner (“Service Partners personnel”) shall at all times and for all purposes be Service Partners personnel and shall be solely under Service Partners employment, care, control and supervision. As an independent Service partner, Service Partner shall herself retain direction, control and supervision over all Service Partners personnel. All Service Partners personnel shall be and remain the employees of Service Partner; and neither Service Partner nor any of Service Partners personnel shall be deemed under any circumstances and for any purposes whatsoever to be an employee, servant, agent or representative of VWITS. Neither Service Partner nor any of Service Partners personnel may bind or attempt to bind VWITS in any way and for any matter whatsoever.

    - Service Partner shall be responsible for any and all the conduct and omissions of Service Partners personnel. Service Partner as the employer of Service Partners personnel shall be liable for all and any losses, liabilities, expenses, costs, penalties, fines, mishaps, accidents, injuries and/or deaths incurred or sustained or occurring at VWITS’s premises, howsoever caused by Service Partners personnel or howsoever arising or resulting from the conduct or omissions of Service Partners personnel. VWITS  shall not under any circumstances whatsoever, for any purposes whatsoever and/or in any way whatsoever, be responsible or liable for any and all the conduct and/or omissions of Service Partners personnel; and without prejudice to the generality of the foregoing VWITS  shall not be liable for all and any losses, liabilities, expenses, costs, penalties, fines, mishaps, accidents, injuries and/or deaths incurred or sustained or occurring at VWITS’s premises, howsoever caused by Service Partners personnel or howsoever arising or resulting from the conduct or omissions of Service Partners personnel.

    - Service Partner shall prepare and process the payroll for Service Partners personnel and pay the salary and all statutory dues to Service Partners personnel on time and Service Partner shall withhold and pay all applicable income taxes, contributions for personnel’ provident fund and all other taxes, levies and dues required by law to be retained and payable by Service Partner to the relevant authorities on behalf of Service Partners personnel.

    - Service Partner shall implement and comply with all the necessary and applicable employment, safety, health, compensation and other related policies, measures, procedures and regulations required and/or prescribed by the relevant authorities for the benefit or protection of Service Partners personnel.

    - Service Partner shall procure all Service Partners personnel to strictly abide by and observe Service Partners obligations prescribed in this agreement and all such rules and regulations that VWITS imposes upon its employees, invitees and/or Service Partners generally.

    - All Service Partners personnel shall be at least eighteen (18) years old, and shall adhere to all applicable laws in that regard.  It shall be the responsibility of Service Partner to ensure compliance with all the provisions set forth herein regarding Service Partners personnel.

    - Service Partner shall ensure that all personnel contracted to work within the VWITS contract has appropriate professional environment and is suitably qualified.

    - VWITS shall have the right, at any time, to request removal of any of Service Partners personnel whom VWITS deems to be unsatisfactory. Service Partner shall immediately remove such employee(s) and, if requested by VWITS, provide a replacement acceptable to VWITS, within suitable notice, or Service Partner shall use reasonable efforts to find promptly another interim solution acceptable to VWITS, but in no event later than fifteen (15) days after the employee(s) is/are removed. VWITS may elect not to request a replacement. Service Partner agrees to ensure the continuity of Service Partners personnel assigned to perform the services or any part thereof and any removal by consultant may only be allowed with VWITS’s prior written consent for the removal and a proposed replacement acceptable to VWITS.

    - Service Partner shall provide the names and details of each of its personnel, agents or subservice Service Partner’s personnel that are deputed to provide the services on a monthly basis along with the list of personnel who have left the service or withdrawn in the previous month, and shall provide them each with a suitable identity card of Service Partner, which must be displayed to allow easy identification by VWITS. The rejection of Service Partner personnel by VWITS does not impact the relationship of said Service Partner personnel with Service Partner.

    - Service Partner shall obtain all necessary licenses, permissions, consents and approvals (including but not limited to contract labor regulations) required under the law to carry on its business and carry out its obligations under this SOW. Service Partner shall also ensure that all such licenses, permissions, consents and approvals shall, at all times throughout the entire term of this agreement, be current, valid and subsisting, that if the licenses, permissions, consents and approvals shall expire any time during the subsistence of this agreement, application for the renewal of such licenses, permissions, consents and approvals shall have been made prior to such expiration and that the licenses, permissions, consents and approvals shall have been lawfully renewed upon such expiration and that Service Partner shall strictly comply with all the terms and conditions prescribed by the relevant authorities in the licenses, permissions, consents and approvals, whether current or renewed. Service Partner shall comply with all labor legislation applicable to the Service Partner personnel, including but not limited to payment of wages.  In this regard Service Partner shall provide VWITS with such records and proof as shall be reasonably required by VWITS  (but subject to Service Partners access, security and confidentiality policies) to verify Service Partners compliance with all relevant laws. Service Partner agrees that it is responsible for handling, investigating, and addressing any complaint of sexual harassment by Service Partner raised by any Service Partner personnel. Service Partner shall ensure that all Service Partner personnel are at least eighteen (18) years old, and shall adhere to all applicable laws in that regard.

    - Service Partner shall ensure that the Service Partner personnel are covered under ESI, PF, Group Mediclaim Insurance, Group Accident Insurance and other insurance as may be required as per the Indian laws.

    - Before issuance of an access badge to the VWITS  premises, the Service Partner personnel should be able to demonstrate to VWITS  Security the following:

      - The Service Partner personnel should produce a valid identification document such as a driver’s license or government issued ID and proof of address (permanent and current).

      - In case the Service Partner personnel request a “visitor/ Service Partner badge” that person should ensure that at a minimum, the Spherion manager from VWITS signs in for the personnel before issuance of the badge.

      - The Service Partner personnel seeking access to VWITS systems should if requested for, be able to demonstrate that the personnel is in compliance with export compliance laws.

      - The Service Partner should ensure that an appropriate Non-Disclosure Agreement (NDA) has been executed with VWITS. Non-execution of a NDA could prevent or delay access to the VWITS Premises.

      - VWITS’s success is built on a foundation of personal and professional integrity.  In addition, VWITS expects that anyone working on VWITS site will adhere to the same higher ethical standard as do VWITS employees while on VWITS’s premises. Therefore, Service Partner’s personnel providing services for VWITS who seek this extended access must comply with this policy and must agree to abide by all applicable laws.

    - Service Partner should ensure that the badges/ID card issued shall not be misused for any other purpose other than the identification and to be  i returned back to VWITS Security forthwith upon the expiry of the validity period of the badge or upon completion, ceasure or termination of the services being provided by that Service Partner personnel concerned at the VWITS facility.

    - The Service Partner shall change any sub-Service Service Partner engaged by it only with the prior consent of VWITS, which consent will not be unreasonably withheld. Service Partner shall not introduce any new sub-Services or personnel to perform its obligations on VWITS facility, without the written consent of VWITS.

    - Service Partner will ensure that each of the Service Partner personnel will abide by all of the reasonable rules and regulations that VWITS imposes upon its Service Partners from time to time.

    - VWITS  reserves the right to conduct an audit of the documentation and records maintained by the Service Partner in compliance of all of the obligations set out in this agreement, at any time, provided at least one day’s advance notice is provided to the Service Partner. The Service Partner shall facilitate inspection of the records at its site or furnish them at VWITS facility for inspection, as may be requested for by VWITS, at its sole discretion. Failure to produce the documents or satisfy VWITS on compliance will be considered a breach of the Service Partner’s obligations under this agreement.

    - Service Partner shall be solely responsible for any and all losses that may result to VWITS, its officers, guests, agents and employees including loss of property, due to any act of omission or commission by the Service Partner personnel that directly or indirectly results in such loss. Service Partner shall agree to indemnify and hold harmless VWITS, its officers, guests, agents and employees to the extent of the loss suffered and all consequential cots (including attorney fees) that may be incurred by VWITS, its officers, guests, agents and employees to protect their interest consequent to such loss or damage.

  - CRITICAL ISSUES

Service Partner shall handle all types of critical issues including but not limited to power failure, UPS failure, precision & package air conditioning failure, backup generator failure, drinking & utility water shortage, water leakage in the premises and other utilities problems. Service Partner also follows any guidelines or policy set down by VWITS in handling the critical issues.

  - ASSET MANAGEMENT

Service Partner is responsible for managing all the movement of the assets belongs to VWITS. Service Partner shall adhere to the asset policy which is current under the system. The bar coding system is to be maintained by Service Partner (if available). The movement record maintenance of the client’s facilities shall be authenticated to have proper statutory (SEZ /customs) approvals/permission.

  - Pricing

Please provide your costing as per the THREE pricing models defined below:

- Proposed Staff salaries. Please provide detailed break-up as described in Section 25.1

- Cost if we take a SLA driven approach for Building Maintenance:  Please provide detailed break-up as described in Section 25.2

- Cost to perform each activity outlined against Building Maintenance. This approach will help us to derive the rate per square feet. PLEASE NOTE: DO NOT DERIVE Rate per square feet as Total cost/Total square feet. Please provide detailed break-up as described in Section 25.3.

- Irrespective of the models, please provide your Standard Operating Procedures for maintaining a standard facility.  Your submittals must include formats for daily, weekly, monthly inspection reports and checklists.

    - Pricing based on Staff Salaries: Please indicate detailed pricing based on manpower salaries (Salary computation is provided below), with and without cleaning equipment, cost of cleaning material, infrastructure, overheads and margins/profits. (Both in figures and in words) (See Attachment). This is only a format, your responses must be based on site survey and requirements at the site.

| Description | Location | General Shift | Shift 1 | Shift 2 | Total Manpower | Rate Per Person | Total Amount | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Supervisor |  |  |  |  |  |  |  |  |
| Facility Manager |  |  |  |  |  |  |  |  |
| Assistant Facility Manager |  |  |  |  |  |  |  |  |
| DG Operator |  |  |  |  |  |  |  |  |
| HVAC Technician |  |  |  |  |  |  |  |  |
| Plumber/Handyman |  |  |  |  |  |  |  |  |
| MEP Supervisor |  |  |  |  |  |  |  |  |
| MEP Technician |  |  |  |  |  |  |  |  |
| Environment Health and Safety Officer (EHS) |  |  |  |  |  |  |  |  |
| Carpenter |  |  |  |  |  |  |  |  |
| Energy Manager |  |  |  |  |  |  |  |  |
| Housekeeping boy |  |  |  |  |  |  |  |  |
| Housekeeping Lady |  |  |  |  |  |  |  |  |
| HK Supervisor |  |  |  |  |  |  |  |  |
| HK Executive |  |  |  |  |  |  |  |  |

Bidder will also provide break up cost in INR and in percentile values for every personnel at different hierarchy appointed by the company as per the format below:

| Sl No | Particulars |
| --- | --- |
| 1 | Basic |
| 2 | Dearness Allowance |
| 3 | House Rent Allowance |
| 4 | City Compensatory Allowance |
| 5 | Travel |
| 6 | Washing and Laundry |
| 7 | Medical Allowance |
| 8 | Special Allowance |
| 9 | Education Allowance |
|  | TOTAL-A |
| 1 | Earned Leave |
| 2 | Reliever’s Charges |
|  | TOTAL-B |
|  | TOTAL- A + B |
| 1 | Bonus |
|  | TOTAL-C |
|  | TOTAL A + B + C |
| 1 | Provident Fund |
| 2 | E S I |
| 3 | Training |
| 4 | Overheads |
| 5 | Uniform |
| 6 | Seasonal Wear |
|  | TOTAL –D |
|  | TOTAL A + B + C + D |
| 1 | Supervision |
| 2 | Recruitment |
| 3 | Dormitory |
| 4 | Other Overheads |
| 5 | Service Charges |
|  | TOTAL E |
|  | GRAND TOTAL |
|  | Deductions |
| 1 | Income Tax |
| 2 | EPF |
| 3 | Voluntary Provident Fund |
| 4 | ESI |
| 5 | PT |
| 6 | LWF |
| 7 | Welfare |
| 8 | Other-Deductions |
|  | Total Deduction |
|  | Net Take Home |

    - Pricing based on SLAs: Please base your calculations based on the SLAs defined in Annexure C.  Your quote must include with and without cleaning equipment, cost of cleaning material, infrastructure, overheads and margins/profits.

    - Note on Overtime: No personnel shall be assigned or allowed to work for more than nine hours (9) on any day of twenty four (24) hours or forty-eight (48) hours in any week, with the exception of emergency situations.

      - The total number of hours of work including overtime shall not exceed ten hours in any day except on days of stock taking and preparation of accounts.

      - The total number of overtime hours worked by an employee shall not exceed fifty (50) hours in a period of three (3) continuous months.

      - Where an employee works for more than nine hours in any day or for more than forty-eight hours in any week he shall in respect of such overtime work be entitled to wages at twice the rate of normal wages.  VWITS will not pay for overtime.

      - The work week herein shall be defined as commencing with shifts beginning on or after twelve (12) midnight on Sunday and ending the following Saturday at midnight

      - Each employee must have a minimum of twenty-four (24) consecutive hours off each week.

    - Bank Guarantee: The Service Partner must provide a Bank Guarantee as Security Deposit. VWITS will encash the Bank Guarantee and pay the personnel from the proceeds under the following circumstances.

      - The Service Partner fails to pay salary to its personnel deployed at VWITS as per the Minimum Wages Act of 1948

      - The Service Partner does not adhere to the rules set forth for overtime under the Shops and Establishments Act of 1961

      - All personnel deployed at all VWITS’s sites will mandatorily work on eight hour shifts. The Service Partner must provide relievers wherever mandated. This means one person will relieve six (6) personnel in a week.  The liability of paying overtime will be on the Service Partner and VWITS should not be invoiced for overtime under any circumstances.

      - The value of the Bank Guarantee will equivalent to the value of its two month invoicing for a specific region.

  - Filing Requirements

    - You are required to provide a comprehensive response that meets or exceeds all requirements stated in this RFP. The response should address all the requirements of this RFP.

    - The Bidder’s proposal must be received by VWITS’s representative on or before the due date mentioned in the RFP Schedule of events. Failure to address each item in the RFP by the Closing Date may be deemed non-responsive. In the event, the Bidder does not intend to provide a proposal VWITS requests a written confirmation of that fact as soon as practicable.

    - Keep your responses direct, concise and complete.

    - Follow all guidelines provided in the RFP. This will help VWITS control the selection process and allow equal opportunity.

    - Submit the most favorable pricing, against the terms provided in this RFP

    - VWITS does not commit to accept the lowest priced proposal or any proposal. No such proposal shall be deemed as accepted unless and until VWITS provides a written notification to the Bidder of such acceptance. VWITS reserves the right in its sole discretion to reject any and all responses including the lowest priced proposal. The decision of VWITS in this regard shall be final.

    - This RFP is issued to elicit responses against VWITS’s requirements. No contract or other binding obligation on VWITS will be implied unless and until VWITS executes a Master Services Agreement on the terms and conditions mutually acceptable to both parties. It is clarified that the issuance of this RFP does not impose any obligations on VWITS to buy any services, or to enter into any binding legal relationship with any one or more Bidders.

    - The Bidder shall be bound by the terms and conditions of the Master Services Agreement to be signed between VWITS and the Bidder after completing the selection process.

    - VWITS shall not engage in acts that it does not deem fit in relation to this RFP.

    - The Bidders shall incur all costs towards providing responses to this RFP.

    - VWITS will intimate all unsuccessful Bidders after finalization of this RFP and no correspondence shall be entertained thereafter.